M2M Geyser System - Design rules and requirements
______________________________ DRAFT ________________________________
SIMPLE PRESENT TENSE
PROVIDE LINKS

This document presents the overall design for the M2M geyser monitoring and controlling system. It presents the individual software nodes, along with their purpose and functional design requirements. (Refer to Figure: Intelligent Geyser M2M System - Overall system design)

###### 1. Geyser Firmware/Driver - Instrumentation control level

This software drives the geyser instrumentation hardware. It is the first level of abstraction of the physical sensors and actuators. It provides the software interface (API) that allows a controller to read sensor data and specify behaviour.
###### Functional requirements
Five functional requirements of the firmware are specified as follows (in order of importance):
1. Monitor system health, and perform safety interlocking in event of failure.
2. Perform closed-loop control of solar panel pumps.
3. Perform closed-loop control of geyser element.
4. Allow safe open-loop control of geyser element.
5. Accept asynchronous commands that:
  1. changes control settings;
  2. responds with sensory data and system diagnostics.
###### Monitor system health, and perform safety interlocking in event of failure.
The highest priority goal of the system is to prevent household damage in the event that the geyser burst. The firmware continually checks for this event, and performs a safety shutdown of the inlet valve element in the event of failure, and also sets appropriate flags that will be read by a controller(4). (Elaborate: Other points of failure?)

→ Watchdog timer.
###### Perform closed-loop control of solar panel pumps.
For the case that the user’s system included a solar panel system, this firmware will monitor the solar temperature, and activate the solar panel pump according to a hardcoded control scheme. (Elaborate: Future work)
###### Perform closed-loop control of geyser element.
In the event of controller(4) absence, the firmware must control the geyser element using the internal temperature of the geyser as reference and according to default (safe) setpoints. A controller(4) may switch the firmware to open-loop control mode (discussed next), but within a predefined timeout period, the firmware will revert back to closed-loop mode. This mode will be the default startup mode. (Suggestion: A default setpoint may possibly be selected using a physical dial on the device, much like a regular mechanical thermostat.)
###### Allow safe open-loop control of geyser element.
Using the firmware API, a controller may switch the element controller to open-loop mode. In this mode, the controller may then prompt the system to switch the element. The firmware will proceed to execute the request provided that it does not violate any safety boundaries. This mode is specifically incorporated to allow a controller(4) to perform sophisticated control using possibly complex control algorithms on any available data (from the geyser itself or from the network), but to avoid controller malfunction from threatening the system.
###### Accept asynchronous commands

The API of the system is based on asynchronous polls made by a controller(4) component. The firmware may only respond polls. It may not initiate communications. Error conditions are specified as system flags and are supplied within every response of a controller poll. It is the responsibility of the controller to read and disseminate failure alerts to any interested parties. For the nature of a geyser system, a minutely interval poll should suffice.

The mechanism for communication is not specified. It is envisioned that the firmware and the controller(4) be located on the same physical device and that communication occurs via interprocess io-streams or UDP/TCP. However, this design also allows that the controller(4) be moved to another device on the same network (See 4, for more details). It is further envisioned that the firmware typically be implemented using a low-level language such as C, whereas the controller may be implemented using a higher level language such as Java or Python.

In very constrained cases, the firmware and controller(4) may execute as the same process on one device. However, the two components should still be logically separated, and loosely coupled as far as possible. Communication in this case may then achieved using data buffers.
###### Non-functional requirements
The following presents a preliminary software design.
###### Control state flow diagram

###### Development responsibilities and procedures

→ Developed by both JWK Brown (hardware developer) and AH Cloete (M2M developer).
→ Require a formalised, documented and mutually agreed API.
→ Use code review
###### 2. Geyser Simulator

This is a stand-alone application that impersonates the geyser firmware described in (1). It presents a controller API that is identical to that of the firmware, and behaves similar as well from the controller(4) perspective. Internally the simulator instantiates and interacts with a virtual geyser, which contains the theoretical model of a geyser as well as the appropriate mechanisms to appear dynamic.

The virtual geyser should persist its state on a regular basis in order to prevent failover inconsistencies. It should calculate the time between program failure and restart, and then attempt to calculate the initial state values using the theoretical model. If no persistence data exists, a predefined initial geyser state should be assumed.
###### Randomised failure events should be implemented, in order to test design sanity.
###### 3. Geyser “multiplexer”
This component does not represent an actual software implementation. It signifies that the Firmware(1) and Simulator(2) components should be interchangeable. The Controller(4) shall therefore be agnostic with respect to the abovementioned.
###### 4. Geyser Controller
This software component represents the first layer of geyser automatisation in an M2M network.

It has two two main objectives:
1. Monitor and control temperatures, according to specified control objectives.
2. Interface with a M2M Service Capability Layer (xSCL) to accept asynchronous commands (e.g. control objectives) and post synchronous data (e.g. temperatures, actuator states, etc).

The controller interfaces with either (1) or (2) using a predefined API. As mentioned in (1), the controller may reside on the same physical device as the firmware, and even run as the same process. It is strongly recommended that the controller be loosely coupled from the firmware to ensure that ensure that controller failure does not threaten firmware stability.

The firmware API allows for the controller to be moved to separate location on the same network (in the case that the hardware cannot provide the processing requirements needed for the controller software). The controller software will then function as a Gateway Interworking Proxy (GIP) application running on a gateway device (6) connected to the same network.

The control objectives may be specified by:
1. an authenticated geyser user via the M2M network (using App or browser), or;
2. an authenticated M2M application on the network that has access to sophisticated models. (This enables shifting the control outcomes to a regional perspective, allowing optimisation of a cluster of geysers, as opposed to each individual geyser.)

Control at this is defined as:
Controlling the internal temperature of the geyser according to time slots, with reference internal temperatures for each slot.

Proposal: Three modes of controller operation
- Manual mode: The controller is given a reference temperature to hold.
- Semi-automatic mode: A local schedule is used that declares active and idle time slots as well as reference temperatures for each respective time slot.
- Fully-automatic: The controller periodically gets control settings from a scheduler connected to the M2M network. The scheduler may for example control the energy content of each geyser which it estimates by applying sophisticated models to the historic data of each geyser. The scheduler may also take into account ongoing grid conditions . See (11) for more on the intelligence.

###### 5. xSCL “multiplexer”
This component does not represent an actual software implementation. It signifies the the Controller(4) can either be:
- a Network Application (NA) that connects directly to the NSCL. This is the case when Controller(4) can be accessed using public IP address (e.g. Controller(4) connects the the internet directly using a cellular access network);
- a Gateway Application (GA) that connects to a GSCL, which in turn is connected to a NSCL. This is the case when the Controller(4) is connected to a private network and does not have a public IP address.
- a Gateway Interworking Proxy (GIP) that connects to a GSCL, which in turn is connected to a NSCL. This is the case when the geyser hardware cannot provide the processing resources required to run the Controller(4) on-board.

###### 6. Gateway Service Capability Layer (GSCL)
This software component is specified by the ETSI standards for M2M communication. An open-source, reference implementation of this standard is provided by OM2M. It provides a REST interface to the M2M resource tree as specified by ETSI. It usually runs on a dedicated device and provides the interface between public and private IP for the M2M devices and applications connected to its local private network. In the case that the subscriber does not have a public IP, the GSCL provides NAT traversal through a mechanism known as long-polling. (See ETSI TS 102 690 V2.1.1 Functional architecture for more.)

The Controller(4) application will be visible on the NSCL once the GSCL has successfully registered with the NSCL.

Specific case: Implemented on Raspberry Pi or Cocoon gateway.

###### 7. Network Service Capability Layer (NSCL)
This software component is specified by the ETSI standards for M2M communication. An open-source, reference implementation of this standard is provided by OM2M. It provides a REST interface to the M2M resource tree as specified by ETSI. It usually runs on a cloud-based server. It forms the central point of contact for all M2M devices and applications in a specific domain. (See ETSI TS 102 690 V2.1.1 Functional architecture for more.)

Specific case: Implemented on Amazon EC2

###### 8. Network Application (NA). Geyser data storage - MySQL database

→ Review this section to implement a RESTful web service: JAX-RS. CXF.
→ Needs to be able to serve a massive number of concurrent requests.

During the servlet init(), this application shall register with the NSCL and present “a Point of Contact (aPoC)” parameter. The application must confirm successful registration with the NSCL and retry until successful. In case of registration failure, a diagnostic report shall be emailed to system administrator. During init(), the application shall also establish and confirm a connection with a MySQL database.

After successful registration, the application shall query the NSCL and discover online Controller(4) applications and create an internal list of resources. The application shall then move on to subscribing to all geyser data containers in order to asynchronously capture geyser data points as they are posted to the NSCL (A Contact URL must be submitted during subscription which will refer any notification to the doPOST() handler of the URI). The querying, discovering, subscribing and updating of Controller resources should continually occur during the lifetime of the application. The doPOST() shall appropriately de-serialize and store the captured data points in its MySQL database.

The aPoC parameter of the application submitted during registration, informs the NSCL to redirect any HTTP requests intended for the Database resource on the NSCL, to this application. The doGET() handler of this application will therefore process requests, which indirectly originates from a MobileApp(9) or a Browser(10). These requests will require the application to pull, serialize and return appropriate data from its MySQL database.
Specific case: Implemented on Amazon EC2

###### 9. Device Application (DA). Geyser Sense mobile app.
This component is a end-user interface to a registered geyser system. It allows the user to interactively view geyser status and history. It also allows the user to control geyser behaviour by changing configurations (e.g. setpoint). Finally, it also provides analysis of usage behavior and energy consumption, and then provides configuration suggestions to minimise energy consumption.

The app shall poll geyser data from the NSCL using an authenticated username and password. It shall download the geyser data from the NSCL which will request it from the database application(8). Geyser data shall not be directly sought from the Controller(4). The mobile app shall set Controller(4) configuration using a configuration container on the NSCL, to which the Controller(4) is subscribed to for change-notifications.

The app shall not implement a server that accepts asynchronous notifications from the NSCL. Instead, it may only poll for data in a similar fashion to any popular social messaging application.

###### 10. Network Application (NA). Web Application.
This component shall provide similar functionality to an end-user as the mobile app(9), except that it shall do it via a web interface. The application will therefore implement a web server which users can access via a web browser. The back-end of the web application shall poll the NSCL for geyser data in the same way the mobile app does. The web application shall require that users log on using authenticated credentials.

###### 10. Intelligence - A Smart Scheduler.

Could really use some input here.